The Executive Engineer,

R&B Division Rajbagh,

Srinagar.

No: KGP/Estt/2025-26/                                           Dated:05-08-2025

Subject: Proposed Requirements for Construction of Academic Block.

Reference: Your letter No. EE/R&B/DIVN/RJB/Const/3976-78 dated 17-07-2025.

Sir/Madam,

In response to your letter regarding the subject matter, we are pleased to propose the following requirements for the construction of the Academic Block (G+4) at Kashmir Government Polytechnic College, Srinagar. These requirements are proposed to ensure the functionality and convenience of the institution:

Proposed Requirements:

- Typical for Ground (half Stilt parking), First, Second, Third floors.

- Classrooms for 60 students: 3 Nos.

- Labs: 4 Nos.

- HOD Room with attached washroom: 1 No.

- Faculty Hall with Cabins (05) with attached washrooms: 2 Nos.

- Smart Classroom/Seminar Hall: 1 No.

- Boys & Girls Toilets on each Floor: 2 Nos. each (1 for boys, 1 for girls)

- Common Rooms: 2 No.

- Fourth Floor

- Examination Halls: 3 Nos.

- Drawing Hall: 1 No.

- Boys & Girls Toilets (1 for boys, 1 for girls).

- Additional Requirements:

- Adequate ventilation and natural lighting in all rooms.

- Fire safety measures, including fire extinguishers and emergency exits.

- Provision for a small library or reading room on the second floor.

- Provision for the Installation of water purifiers in common areas.

- Electrical wiring for all building and also for smart boards and IT infrastructure in classrooms and labs.

- Installation of a lift for accessibility across all floors.

We request you to consider the above requirements and incorporate them into the design and construction plan.

Yours Faithfully

Principal

Kashmir Government Polytechnic College

Srinagar