| Pg. 1 ACADEMIC CELL (PHYSICS) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sno. | Particulars Of Items Required | Specification | Quantity Proposed for Procurement |  | Rate Per Unit (Lakhs) |  | Amount In Lakhs | Remarks |
|  | Vernier calliper Digital | - Measurement tool for performance. Measuring range between 0-6” or 0 – 150 mm. ACCURACY: Resolution: 0.01mm / 0.0005 in. Accuracy +/- 0.02 mm / 0.001 in - Display is an extra large LCD screen for easy, quick and clear reading. BATTERY INCLUDED with auto on off feature. - VERSATILITY: With this micrometer set you can take measurements for outside, inside, depth and step with two sets of jaws, the probe and depth gauge. - Stainless Steel Calipers are hardened plastic metal frame with thumb roller and locking screw for smooth sliding and accuracy. - STORAGE CASE: Store and put away your electronic digital caliper with the custom fit plastic case. .. | 60 |  | 0.0132 |  | 0.792 |  |
|  | screw gauge | - Screw Spindle: The moving part that advances or retracts when the thimble is rotated. - Main Scale (Pitch Scale): A linear scale, usually graduated in millimeters, attached to the barrel of the gauge. - Circular Scale (Thimble Scale): A circular scale etched on the thimble, with a number of divisions (e.g., 50 or 100). - Anvil: A fixed surface against which the object to be measured is placed. - Sleeve: The part of the gauge that holds the main scale. - Thimble: The rotating part that moves the screw spindle. - Ratchet: A mechanism that allows for fine adjustments and prevents overtightening. - Pitch: The distance the screw moves along the main scale in one complete rotation of the thimble. It's usually 1 mm or 0.5 mm. - Least Count: The smallest measurement the screw gauge can resolve. It's calculated as Pitch / Number of divisions on the circular scale. For example, if the pitch is 1 mm and there are 100 divisions on the circular scale, the least count is 0.01 mm. - Zero Error: A systematic error that occurs when the zero mark on the circular scale does not coincide with the zero mark on the main scale when the spindle is in contact with the anvil. | 60 |  | 0.0036 |  | Pg. 2 0.216 |  |
|  | Simple Pendulum | 1. Point Mass (Bob): - A small, dense spherical object (often a metal bob) is used to approximate a point mass. - Its radius should be much smaller than the length of the string. - It should be heavy enough to minimize the effects of air resistance. 2. String/Thread: - The string should be light, strong, and inextensible (doesn't stretch). - A thin, flexible thread or string is commonly used. 3. Point of Suspension: - The point from which the string is suspended should be rigid and fixed. - This ensures that the suspension point doesn't move during the oscillation. 4. Effective Length: - The effective length (L) of the pendulum is the distance from the point of suspension to the center of gravity of the bob. - This is usually calculated as the length of the string (l) plus half the diameter of the bob (r), L = l + r. 5. Amplitude of Oscillation: - The pendulum should be set in motion with a small angular displacement (typically less than 10-15 degrees). - . 6. Time Measurement: - The time period (T) is the time taken for one complete oscillation (e.g., back and forth). - Accurate time measurement is crucial for determining the acceleration due to gravity (g). | 20 |  | 0.00275 |  | Pg. 3 0.055 |  |
|  | Flywheel | 20cm dia comprising of carefully machine and balanced cast iron wheel and steel spindle in support on ball bearing in strong iron bracket .the wheel is smoothly painted black and is marked with a line.A pointer is fixed to one of the brackets. Diametric hole is drilled in the shaft to take a pin and cord the base is provided with holes so that the apparatus can be fixed to wall • Complete with all optional accessories | 5 |  | 0.03 |  | 0.15 Pg. 4 |  |
|  | Cantilever | : - Material: Typically M steel (often chrome-plated for durability and reduced friction). - Dimensions: Length, width, and thickness are important, with marked lines for measurement along the length. For example, a common dimension is 100x18x0.3cm, with lines 5cm apart. - Support: Fixed at one end, usually clamped or embedded in a holder to simulate a wall or column. - Loading Mechanism: A hook or attachment point is provided at the free end to apply weights, allowing for controlled loading. - Measurement Tools: A measuring scale or vernier caliper is used to measure the deflection (depression) of the free end under load. - Optional Components: Some apparatuses include a dial gauge for more precise deflection measurements and a speed control unit for varying load application. | 15 |  | 0.01 |  | Pg. 5 0.15 |  |
|  | ultrasonic interferometer | : 1. High-Frequency Generator: - Frequency: Common frequencies include 1, 2, 3, and 5 MHz, though some models may offer dual frequencies (e.g., 2 and 5 MHz). - Mains Voltage: Typically 220V, 50Hz. - Fuse: A fuse (e.g., 150mA or 500mA) is included for protection. 2. Measuring Cell: - Capacity: The cell typically holds a small volume of liquid, often around 10 cc. - Reflector: A movable metallic plate (reflector) is used to reflect the ultrasonic waves. - Liquid Circulation: Some cells have a double-walled construction to allow for temperature control via water circulation. - Micrometer: A micrometer with a least count of 0.01mm or 0.001mm is used to precisely measure the reflector's displacement. - Reflector Displacement: The reflector can usually be moved over a range of about 20mm. 3. Other Components: - Shielded Cable: A shielded cable connects the generator to the measuring cell, often with a specific impedance (e.g., 50 ohms). - Ammeter/Meter: A meter is used to indicate the position of the reflector (e.g., at nodes or antinodes of the standing wave) or to monitor the anode current of the generator. 4. General Experimental Features: - Principle: The interferometer relies on the principle of interference and resonance to determine the wavelength of ultrasonic waves. - Accuracy: Interferometers are designed for high accuracy, often with a stated accuracy of ± 0.2 m/s for velocity measurements. Pg. 8 Experimentation: The device can be used to determine the velocity of sound in various liquids and solids by measuring the wavelength and knowing the frequency. - Safety: Users should be aware of potential hazards, such as electrical shock, and follow proper safety procedures when using the equipment. | 2 |  | 0.3 |  | Pg. 6 0.6 |  |
| 07 |  | Optical bench | - Scale: The core of the bench, often a graduated rod or channel, providing a reference for measuring distances between components. - Length: Common lengths include 1 meter, 1.5 meters, or more, depending on the application. - Graduation: Scales may be graduated in millimeters or have other divisions for precise measurements. - Material: Can be made of iron, brass, or stainless steel, influencing durability and stability. - Riders/Carriages: These are movable platforms that hold the optical components (lenses, mirrors, etc.). - Number: Optical benches typically have multiple riders, allowing for the setup of multiple components. - Slow-motion Mechanisms: Some riders may have fine adjustment mechanisms for precise positioning. - Complete with all optional accessories |  | 10 |  | .05 | 0.5 |
| 08 |  | Overhead projector | Resolution: 1024 X 768 pixel Aspect Ratio: 4:3 Maximum Brightness: 4000 lm |  | 1 |  | 0.6 | 0.6 |
|  |  | TOTAL |  |  |  |  |  | 3.063 |