- History/Necessity:

Kashmir Government Polytechnic, Srinagar is a Pioneering Technical Institute of the UT of Jammu and Kashmir. The institute has been endeavouring to meet the demands and has therefore added up various long term and short courses from time to time

The valley produces large chunk of hides /skins nearly 3.5 million sheep skins and 1.2 million cattle hides are available in the UT of J&K, which are sold outside the UT at extremely lower-price thereby depriving the UT of J&K economy of the financial benefits which could be accrued by selling the leather finished formal a comparatively high profit. There is a huge potential for growth of leather sector in UT of J&K, which can play a key role in ensuring sustained growth and poverty reduction of the UT. Realizing this, the UT of J&K government is promoting the establishment of leather industry units in the valley

3 years Diploma course in Leather Technology was introduced in the year 2003 Under World Bank Project Tech Edu- III. In 2003. The main aim was to create trained human resources for promoting the development of the leather industry in the UT of J&K.

Diploma in Leather Technology programme being a Technical course needs sufficient practical inputs and exposure to the actual world of work, Accordingly the curriculum designed for the said course emphasizes on laboratory / workshop practices in conjunction with the hand on job in the actual world of work.

II (a). Microbiology Laboratory

| S.NO | Name of the equipment | Specification | Quantity /Rate | Approx Cost. |
| --- | --- | --- | --- | --- |
| 1 | Hot Air Oven stainless steel digital | Hot air oven for silica gel regeneration, temperatures up to 150 degrees. | 01 No. | 25,000 |
| 2 | Refrigerator | 230 liters of standard quality | 01 No. | 35,000 |
| 3 | Binocular compound microscope (Binocular head 45 degree and 360 Rotatable) | Magnification:10x,40x,100x Material: heavy single mold aluminum die cast stand. Focusing: separate coarse & Fine knobs reading up to 0.002mm. voltage: AC Input 100v-240v Illumination: halogen 20w with variable intensity control. Mechanical stage: 120*140 mm Eye piece: 5x,10x,15x | 03 No’s/Rs 60000 each No | 1,80,000 |
| 4 | Portable Autoclave | 23 litres 121 degree C Controller with timer with end cycle Buzzer low water level cut off device ,water level indicating system Material :Stainless Steel Display :Digital Temp controller cum indicator Automation fully automatic Double Wall | 01 No. | 80000 |
| 5 | Laminar air Flow | 60*60*60 cm single phase with 2800 RPM , noise level less than 67db | 01 No. | 1,00000 |
| 6 | Stainless steel Water bath | Digital, dimension 35*25*10cm, with 15-50 litres water capacity automatic type | 01 No. | 20,000 |
| 7 | Centrifuge | 24 tubes capacity, dimension 41*37*45 cm, noise level less than 53db | 01 No. | 20,000 |
| 8 | Magnetic stirrer | Stainless steel with 5litre capacity , digital speed range adjustable | 01 No. | 30,000 |
| 9 | Pipettes with pump | Manual made of plastic | 12 No’s/Rs 300 each No | 3600 |
| 10 | Test tubes | Borosilicate Glass made with capacity | 24 No’s/Rs20 each No | 480 |
| 11 | Test tube Holder | Plastic with 24 tubes capacity | 01 No. | 200 |
| 12 |  |  |  |  |
| 13 | Incubator | 28 litre capacity digital ,inner chamber size 300*300*300 mm, double walled insulation | 01 No. | 40,000 |
| 14 | Colony counter | 155mm diameter of counting plate, 16w power, dimension 23*18*25 cm | 02 No./Rs 7500 each No | 15000 |
|  | Inoculation needle |  |  |  |
|  | Petri dishes |  |  |  |
|  | Stability Chamber |  |  |  |
|  | Microwave oven |  |  |  |
| Approximate Total Cost in INR |  |  |  |  |

II (b). Analytical/Chemical Testing Lab.

- Equipment Requirement:

| S.No | Name of equipment | Specification | Quantity/ Rate | Approx. Cost. |
| --- | --- | --- | --- | --- |
| 1 | Muffle furnace | Electric with 100*100*225mm muffle size having 1.5kw heating chamber | 01 No. | 70,000 |
| 2 | Analytical balance | An analytical balance is required, with a range of weighing 0.1 mg to 220g | 01 No. | 5000 |
| 3 | Digital pH meter | Measuring pH range 0 to 14, accuracy±0.002pH,Temperature MTC (-10 to 100C), Temperature ATC (-5 to 100C), | 02 No. | 11000 |
| 4 | Bunsen burner | Stainless steel electric , round shape size 12 inch | 03 No. | 6000 |
| 5 | Double/ single Distillation plant |  | 2 No’s | 30000 |
| 6 | Hot plate |  | 2 N0’s |  |
| 7 | Mantle | 250 ml | 6 No’s |  |
| 8 | Mantle | 500 ml | 4 no’s |  |
| 9 | Orbital Shaker |  | 1 No |  |
| 10 | Digital Thermometer | Pen type | 6 No’s/Rs200 each No | 1200 |
| Approximate Cost in INR |  |  |  |  |

- Glassware Requirements:

| S. No | Glassware’s | Specification/Grade | Required quantity (minimum) |  |
| --- | --- | --- | --- | --- |
| 1.0 | Beakers |  |  |  |
| 1.1 | 500 ml | B | 12 nos |  |
| 1.2 | 250 ml | B | 12 nos |  |
| 1.3 | 100 ml | B | 12 nos |  |
| 2.0 | Conical flask |  |  |  |
| 2.1 | 500 ml | B | 12 nos |  |
| 2.2 | 250 ml | B | 12 nos |  |
| 2.3 | 100 ml | B | 12 nos |  |
| 3.0 | Iodine flask 250 ml | B | 12 nos |  |
| 4.0 | Volumetric Flasks |  |  |  |
| 4.1 | 500 ml | A | 12 nos |  |
| 4.2 | 250 ml | A | 12 nos |  |
| 5.0 | Burette |  |  |  |
| 5.1 | 50 ml | A | 6 nos |  |
| 6.0 | Pipette |  |  |  |
| 6.1 | 50 ml | A | 6 nos |  |
| 6.2 | 20 ml | A | 6 nos |  |
| 6.3 | 10 ml | A | 6 nos |  |
| 7.0 | Evaporating China dish |  |  |  |
| 7.1 | 100 ml | - | 12 nos |  |
| 7.2 | 50 ml | - | 12 nos |  |
| 8.0 | Measuring cylinder |  |  |  |
| 8.1 | 50 ml | A | 6 nos |  |
| 8.2 | 100 ml | A | 6 nos |  |
| 9.0 | Reagent bottles |  |  |  |
| 9.1 | 1000 ml | - | 6 nos |  |
| 9.2 | 500 ml | - | 6 nos |  |
| 10.0 | Silica crucibles with lid 80ml capacity | - | 12 nos |  |
| 11.0 | Funnel 65 mm | - |  |  |
| 12.0 | Kjeldhal apparatus | - | 3 set |  |
| 13.0 | Desiccator 150mm | - | 3 nos |  |
| 14.0 | Soxhlet apparatus | - | 6 sets |  |
| 15.0 | Petridis | - | 12 nos |  |
| 16.0 | Burette stand with clamp | - | 6 nos |  |
| 17.0 | Pipette Bulb | - | 5 nos |  |
| 18.0 | Dropper with bulb | - | 10 nos |  |
| 19.0 | Glass string rods | - | 20 nos |  |
| 20.0 | Wash bottle 500 ml | Plastic | 6 nos |  |
| 21.0 | Test tubes | - | 50 nos |  |
| 22.0 | Test tube holder | - | 12 nos |  |
| 23.0 | Spatula medium | - | 6 nos |  |
| 24.0 | Laboratory SS Tongs 8” for beakers | - | 6 nos |  |
| 25.0 | Laboratory SS Tongs 12” for crucibles | - | 6 nos |  |
| 26.0 | Laboratory washing brushes | - | 24 nos |  |
| 27.0 | Forceps 12” | - | 6 nos |  |
| 28.0 | Filter paper | No. 1 | 2 pkts |  |

II © Physical Testing Lab.

| S.No | Name of the equipment | Specification | Quantity | Approx. Cost |
| --- | --- | --- | --- | --- |
| 1 | Water Vapor Permeability Tester. | (IS 8085 Part 14/ISO 17699) An analytical balance is required, with a range of weighing 0.1 mg to 220g Hot air oven for silica gel regeneration, temperatures up to 150 degrees Size of test dishes 83 mm ID x 90 mm OD x 18.5 mm deep Speed of rotation of turn table 2 RPM Size of turn table 410 mm dia with dishes placed | 01 No. | 1,45,000 |
| 2 | Tensile Strength machine for upper leather. (motorized) | EN ISO 7500-1 IS 5914 Part 8/ISO 3376 Capacity of the tester 0 to 500x0.1 kg Speeds of traverse 100 and 300 mm/minute Minimum grip separation 25 mm Maximum grip separation 1000 mm Elongation measurement Measured between grips on a digital display from 0 to 1000x1 mm | 01 No. | 2,10,000 |
| 3 | Leather thickness meter | IS 5914 LP/ISO 2589 Range of measurement 0 – 10 mm Least count of dial micrometer 0.01 mm Display- Digital | 01 No. | 12000 |
| 4 | Crackness Tester For upper Leather(motorized) | IS 5914 Part7/ISO 3378 Sole Leather Grain Crack Index Tester having different mandrel diameters as 6.8mm, 8.3mm, 10.4mm, 13.2mm, 17.2mm, 23.6mm, 35.0mm, 61.7 mm, Tolerance ±1 for all mandrels and angle of bending at 180 degrees. | 01 No. | 1,60,000 |
| 5 | Dynamic Water Proofness Tester. (motorized) | ISO 5403-2And ISO 5403-1 Display Type Digital Weight 55 kg Power Electronic, AC 220V 1A Dimension 71x60x55 cm | 01 No. | 1,45,000 |
| 6 | Abrasion Testing machine(motorized) | IS 8085 Part 6/ ISO 17704 Dynamic waterproofness testers are of two types in the Upper Leather testing - Maeser-Repeated angular compression - Bally penetrometer-Repeated linear compression The way of testing is different based on the testing standards, but both are in dynamic motion. Weight about 115 kg Power AC-220V 50 HZ Brand Globe Machine dimension 710*440*560 mm | 01 No. | 1,45,000 |
| 8 | Shrinkage Temperature Testing Machine | ISO 3380/IUP 16/ IS 5914 LP10 Martindale abrasion tester with four stations for the Leather abrasion test Dimension: 420*270*860 mm. Beaker volume: 1000ml depth 140mm. Fixed test piece holder: 30 ± 5mm above the base of vessel. Temperature sensor LCD temperature control table display. Sample size (50 ±0.2)x(3 ±0.2)x(2 ±0.02)mm. Power supply: AC 220v, standard ISO | 01 No. | 1,25,000 |
|  | Bally flexometer | ISO 5402-1 |  |  |
|  | Colourfastness to veslic rubbing tester | ISO 11640 |  |  |
|  | Colourfatness assessment cabinet | ISO 11640 |  |  |
|  | Sample cutting machine (Clicking machine) |  |  |  |
| Approximate Cost in INR |  |  |  |  |

III-Leather Experimental Lab:

| S.No | Name of the Equipment /Machinery | Specifications | Quantity | Approx. Cost |
| --- | --- | --- | --- | --- |
| 01 | Steel drum Automatic | Material-steel,Width-800mm,diameter-400mm, capacity-30 kg, speed 8-18rpm, motor-3 HP , three phase, | 02 No’s/Rs 5,50,000 each | 11,00000 |
| 02 | - Wooden Beam for Unhairing & Fleshing |  |  |  |
| 03 | - Brass Slickers |  |  |  |
| 04 | - Fleshing knifes |  |  |  |
| 05 | - Unhairing knifes |  |  |  |
| 06 | - Air compressor |  |  |  |
| 07 | - Hand spray Gun for Leather finishing |  |  |  |
| 08 | - Balance (5 kg) |  |  |  |

IV-ABSTRACT OF COST

Name of the project: Establishment of leather technology Labs/ Up-gradation of Leather Technology Department at Kashmir Government Polytechnic College Gogjibagh Srinagar.

| S.No | Name of laboratory | Tentative Cost |
| --- | --- | --- |
| 01 | Microbiology lab |  |
| 02 | Analytical/chemical testing lab. |  |
| 03 | Physical testing lab. |  |
| 04 | Leather experimental Lab |  |
|  | Grand Total INR |  |