GEM AUTHORIZATION

Consequent upon the requisition received from the HOD, Electrical Engineering Department of the institution, Sanction is hereby accorded to the purchase of the following items through the GeM portal as per the details given below:

| S.NO | ITEM | SPECIFICATION | UOM | Qty |
| --- | --- | --- | --- | --- |
| 1 | Wire | 4 Mm Square | Mtr | 180 |
| 2 | MCB | 40A Tpin | No | 1 |
| 3 | MCB | 32A Single Pole | No | 6 |
| 4 | MCB | 16A Single Pole | No | 6 |
| 5 | MCB | 63A DP | No | 1 |
| 6 | Wire | 6 Mm Square | Mtr | 180 |
| 7 | Voltmeter | 600V Digital | No | 2 |
| 8 | Earthing Rod | GI(3-Metre) | No | 1 |
| 9 | Wire | 1 mm square | Mtr | 90 |
| 10 | Selector Switch | NA | No | 2 |
| 11 | Copper Lugs | NA | No | 24 |

Principal

Kashmir Government Polytechnic College

Srinagar

KGP/Estt/2026/

Dated:25-05-2026

Copy to the:

1.Consignee/Buyer GeM for information and necessary action.

2. Accounts Section for information.

3. GeM file.