The Principal,

Kashmir Government Polytechnic Srinagar

Subject: Requisition for Procurement of Items Listed in Annexure A for Maintenance, Upkeep, and Development of Electrification Infrastructure.

Respected Madam,

With reference to Order No. 136 of 2025 dated 12-11-2025, regarding the Constitution of Committee for Maintenance, Upkeep, and Development of Electrification Infrastructure in the institution, including hostels and quarters. The committee has identified certain essential items required for the effective maintenance, upkeep, and development of the electrification infrastructure.

Accordingly, we hereby submit a requisition for the procurement of the items mentioned in Annexure A (attached/enclosed) to this letter. These items are urgently required to carry out the mandated responsibilities of the committee and ensure safe, efficient, and upgraded electrical systems across the campus, hostels, and quarters.

Kindly accord necessary approval and initiate the procurement process at the earliest convenience.

Thanking you.

Yours faithfully,

Enclosure: Annexure A (List of Items)

Comittee for Maintenance, Upkeep,  and Development of Electrification Infrastructure Kashmir Government Polytechnic, Srinagar.

Annexure A

| S.No | Description of Item | UOM | Qty |
| --- | --- | --- | --- |
| 1 | 1 SQ MM WIRE | Coil | 2 |
| 2 | 2.5 SQ MM WIRE | Coil | 8 |
| 3 | 4 SQ MM WIRE | Coil | 6 |
| 4 | 6 SQ MM WIRE | Coil | 2 |
| 5 | CONDUIT PIPE | No's | 185 |
| 6 | SADDLE | Pkt | 17 |
| 7 | LED BATTEN 20W | No's | 8 |
| 8 | BEND | No's | 100 |
| 9 | 32 A DP C MCB | No's | 10 |
| 10 | RAWAL PLUG | No's | 15 |
| 11 | CEILING ROSE 2 PLATE MINI | No's | 20 |
| 12 | MODULE FAN REGULATOR | No's | 4 |
| 13 | SCREW 2"X50MM | Box | 3 |
| 14 | LMS PIPE 25MM | No's | 3 |
| 15 | FANCY ANGLE HOLDER (PLASTIC) | No's | 40 |
| 16 | SQUARE BLOCK | No's | 40 |
| 17 | COMBINE 16A | No's | 12 |
| 18 | GYSER ELEMENTS | No's | 8 |
| 19 | 150 MM THRILL AIR DX | No's | 3 |
| 20 | LED PLUS 9W B22 CDL 1S LAMP V7 | No's | 50 |
| 21 | FAN CONDENSER | No's | 10 |
| 22 | GYSER THERMOSTAT | No's | 6 |
| 23 | DRILL BIT 6MM | No's | 6 |
| 24 | DRILL BIT 8MM | No's | 6 |
| 25 | SWITCH SOCKET CERAMIC | No's | 24 |
| 26 | 16 A 3 PIN PLUG TOP | No's | 15 |
| 27 | 6A 3 PINSOCKET (W/O SHUTTER) | No's | 200 |
| 28 | 6AONE WAY SWITCH | No's | 200 |
| 29 | TOP 16A | No's | 20 |
| 30 | 16 A SP C MCB | No's | 8 |
| 31 | SPN 6 WAY DD DR | No's | 3 |
| 32 | 32A CHANGEOVER | No's | 3 |
| 33 | GANG BOX | No's | 100 |
| 34 | PVC JUNCTION | No's | 30 |
| 35 | TOOL KIT( 13 NO'S SET) | No's | 1 |