The Principal,                                                                      Dated:10-07-2023

Kashmir Govt. Polytechnic College,

Srinagar.

Sub: Repairing of Water Motor.

Respected Sir,

We the members of Campus Management committee of this Institution want to bring your attention to an urgent matter regarding the water motor installed in the Institution. Over the past few days, it has come to our attention that the water motor is not functioning properly. The motor fails to maintain a consistent water supply, causing inconvenience to the students, staff, and faculty. This motor is used for providing water supply to the whole institution including Hostel and Staff Quarters. It is crucial to address this issue promptly as it directly affects the daily operations of the Institution.

Timely repairs will help avoid any further disruption to the functioning of the Institution and ensure that our students and staff can operate in a conducive environment.

To facilitate the repair process, We have approached the plumber and as per his inputs, the below mentioned items are required for proper functioning of the motor.

| S. No | Name of the Item | Required No's |
| --- | --- | --- |
| 1 | Flange 3 inch | 2 |
| 2 | Bush 3*2 | 2 |
| 3 | Nipple 6*2 | 2 |
| 4 | Ball value 2 inch | 1 |

It is our humbly request to issue orders for procurement of the above given items at an earliest for timely repair of the water motor.

Yours Faithfully,

Members of Campus Management Committee.